## Sheet1 (2)
NetCDF minimal specification
Full description of metadata found here:
https://github.com/I-Ocean/common-metadata
import netCDF4 as nc
import numpy as np
import datetime
from datetime import datetime, timezone, date
from netCDF4 import num2date, date2num
import pandas as pd
rootgrp = nc.Dataset('iocean_minimal_specification_example.nc','w',format='NETCDF4') # change write mode ('w') as required
Root Group
Global Attributes
Name | Data type | Comment | Python
deployment_id | S | Use independent string as deployment groups are not used in minimal specification | rootgrp.deployment_id = 'DY122'
title | S |  | rootgrp.title = 'I/Ocean trajectory file Climate Forecast 1.8'
Conventions | S |  | rootgrp.Conventions = 'CF-1.8 SeaDataNet-1.0 ACDD-1.3 IOcean-1.0'
source | S |  | rootgrp.source = 'Underway observations from <ship> navigation, meteorology and sea surface hydrography sensor arrays'
references | S |  | rootgrp.references = 'https://github.com/I-Ocean/netcdf-specification'
date_created | Date |  | rootgrp.date_created = datetime(2020, 1, 31, 23, 59, 59, tzinfo=timezone.utc).isoformat().replace('+00:00', 'Z')
date_updated | Date |  | rootgrp.date_update = datetime.now(timezone.utc).replace(microsecond=0).isoformat().replace('+00:00', 'Z')
processing_level | S |  | rootgrp.processing_level = 'Raw instrument data'
featureType | S |  | rootgrp.featureType = 'trajectory'
data_interval | S |  | rootgrp.data_interval = '1Hz'
Dimensions
rootgrp.createDimension('INSTANCE',None)
rootgrp.createDimension('MAXT',6) # This may need to be unlimited (None) if data is appended over time
rootgrp.createDimension('STRING80',80)
Coordinate variables
TIME
Name | Data type | Comment | Python
TIME | N |  | time = rootgrp.createVariable('TIME', 'f8', ('INSTANCE', 'MAXT'), fill_value=-1)
TIME Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | time.long_name = 'Time'
standard_name | S |  | time.standard_name = 'time'
units | S |  | time.units = 'seconds since 1970-01-01T00:00:00Z'
calendar | S |  | time.calendar = 'standard'
axis | S |  | time.axis = 'T'
ancillary_variables | S |  | time.ancillary_variables = 'TIME_SEADATANET_QC'
sdn_parameter_name | S |  | time.sdn_parameter_urn = 'SDN:P01::ELTMEP01'
sdn_parameter_urn | S |  | time.sdn_uom_urn = 'SDN:P06::UTBB'
sdn_uom_name | S |  | time.sdn_parameter_name = 'Elapsed time relative to 1970-01-01T00:00:00Z'
sdn_uom_urn | S |  | time.sdn_uom_name = 'Seconds'
instrument | S | Include attribute if data variable is measured by instrument | time.instrument = ''
calibration | S | Include attribute if data variable has calibration applied | time.calibration = ''
TIME = np.array([1615900594, 1615900595, 1615900596, 1615900597, 1615900598, 1615900599]),'f8')
time[0,0:] = TIME
TIME QC
Name | Data type | Comment | Python
TIME_SEADATANET_QC | N |  | timeqc = rootgrp.createVariable('TIME_SEADATANET_QC','i1',('INSTANCE', 'MAXT'), fill_value = 57);
TIME QC Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | timeqc.long_name = 'SeaDataNet quality flag'
Conventions | S |  | timeqc.Conventions = 'SeaDataNet measurand qualifier flags'
coordinates | S |  | timeqc.coordinates = 'TIME DEPTH LATITUDE LONGITUDE'
sdn_conventions_urn | S |  | timeqc.sdn_conventions_urn = 'SDN:L20::'
flag_values | D |  | timeqc.flag_values = np.array([48,49,50,51,52,53,54,55,56,57,65],'i1')
flag_meanings | S |  | timeqc.flag_meanings = 'no_quality_control good_value probably_good_value probably_bad_value bad_value changed_value value_below_detection value_in_excess interpolated_value missing_value value_phenomenon_uncertain'
TIME_QC = np.array([49, 49, 49, 49, 49, 49], 'i1')
timeqc[0,0:] = TIME_QC
LATITUDE
Name | Data type | Comment | Python
LATITUDE | N |  | latitude = rootgrp.createVariable('LATITUDE', 'f8', ('INSTANCE', 'MAXT'), fill_value=-99)
LATITUDE Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | latitude.long_name = 'Latitude'
standard_name | S |  | latitude.standard_name = 'latitude'
units | S |  | latitude.units = 'degrees_north'
axis | S |  | latitude.axis = 'Y'
ancillary_variables | S |  | latitude.ancillary_variables = 'POSITION_SEADATANET_QC'
sdn_parameter_name | S |  | latitude.sdn_parameter_urn = 'SDN:P01::ALATGP01'
sdn_parameter_urn | S |  | latitude.sdn_uom_urn = 'SDN:P06::DEGN'
sdn_uom_name | S |  | latitude.sdn_parameter_name = 'Latitude north relative to WGS84 by unspecified GPS system'
sdn_uom_urn | S |  | latitude.sdn_uom_name = 'Degrees north'
grid_mapping | S |  | latitude.grid_mapping = 'crs'
instrument | S | Include attribute if data variable is measured by instrument | latitude.instrument = ''
calibration | S | Include attribute if data variable has calibration applied | latitude.calibration = ''
LAT = np.array([-51.71759033, -51.71879196, -51.72002792, -54.596138 , -54.59526443, -54.59444046],'f8')
latitude[0,0:] = LAT
LONGITUDE
Name | Data type | Comment | Python
LONGITUDE | N |  | longitude = rootgrp.createVariable('LONGITUDE', 'f8', ('INSTANCE', 'MAXT'), fill_value=-999)
LONGITUDE Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | longitude.long_name = 'Longitude'
standard_name | S |  | longitude.standard_name = 'longitude'
units | S |  | longitude.units = 'degrees_east'
axis | S |  | longitude.axis = 'X'
ancillary_variables | S |  | longitude.ancillary_variables = 'POSITION_SEADATANET_QC'
sdn_parameter_name | S |  | longitude.sdn_parameter_urn = 'SDN:P01::ALONGP01'
sdn_parameter_urn | S |  | longitude.sdn_uom_urn = 'SDN:P06::DEGE'
sdn_uom_name | S |  | longitude.sdn_parameter_name = 'Longitude east relative to WGS84 by unspecified GPS system'
sdn_uom_urn | S |  | longitude.sdn_uom_name = 'Degrees east'
grid_mapping | S |  | longitude.grid_mapping = 'crs'
instrument | S | Include attribute if data variable is measured by instrument | longitude.instrument = ''
calibration | S | Include attribute if data variable has calibration applied | longitude.calibration = ''
LON = np.array([-57.65376663, -57.65382767, -57.65382385, -58.36009979, -58.36487961, -58.3693428 ],'f8')
longitude[0,0:] = LON
POSITION QC
Name | Data type | Comment | Python
POSITION_SEADATANET_QC | N |  | posqc = rootgrp.createVariable('POSITION_SEADATANET_QC','i1',('INSTANCE', 'MAXT'), fill_value = 57)
POSITION QC Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | posqc.long_name = 'SeaDataNet quality flag'
Conventions | S |  | posqc.Conventions = 'SeaDataNet measurand qualifier flags'
coordinates | S |  | posqc.coordinates = 'TIME DEPTH LATITUDE LONGITUDE'
sdn_conventions_urn | S |  | posqc.sdn_conventions_urn = 'SDN:L20::'
flag_values | D |  | posqc.flag_values = np.array([48,49,50,51,52,53,54,55,56,57,65],'i1')
flag_meanings | S |  | posqc.flag_meanings = 'no_quality_control good_value probably_good_value probably_bad_value bad_value changed_value value_below_detection value_in_excess interpolated_value missing_value value_phenomenon_uncertain'
POS_QC = np.array([49, 49, 49, 49, 49, 49], 'i1')
posqc[0,0:] = POS_QC
DEPTH
Name | Data type | Comment | Python
DEPTH | N | Set to 0 (required for SeaDataNet conventions) | depth = rootgrp.createVariable('DEPTH', 'f4', ('INSTANCE', 'MAXT'), fill_value=-1)
DEPTH Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | depth.long_name = 'DepBelowSurf'
standard_name | S |  | depth.standard_name = 'depth'
units | S |  | depth.units = 'm'
axis | S |  | depth.axis = 'Z'
positive | S |  | depth.ancillary_variables = 'DEPTH_SEADATANET_QC'
ancillary_variables | S |  | depth.positive = 'down'
sdn_parameter_name | S |  | depth.sdn_parameter_urn = 'SDN:P01::ADEPZZ01'
sdn_parameter_urn | S |  | depth.sdn_uom_urn = 'SDN:P06::ULAA'
sdn_uom_name | S |  | depth.sdn_parameter_name = 'Depth (spatial coordinate) relative to water surface in the water body'
sdn_uom_urn | S |  | depth.sdn_uom_name = 'Metres'
instrument | S | Include attribute if data variable is measured by instrument. | depth.instrument = ''
calibration | S | Include attribute if data variable has calibration applied. | depth.calibration = ''
DEPTH = np.array([0,0,0,0,0,0],'f4')
depth[0,0:] = DEPTH
DEPTH QC
Name | Data type | Comment | Python
DEPTH_SEADATANET_QC | N |  | depthqc = rootgrp.createVariable('DEPTH_SEADATANET_QC','i1',('INSTANCE', 'MAXT'), fill_value = 57)
DEPTH QC Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | depthqc.long_name = 'SeaDataNet quality flag'
Conventions | S |  | depthqc.Conventions = 'SeaDataNet measurand qualifier flags'
coordinates | S |  | depthqc.coordinates = 'TIME DEPTH LATITUDE LONGITUDE'
sdn_conventions_urn | S |  | depthqc.sdn_conventions_urn = 'SDN:L20::'
flag_values | D |  | depthqc.flag_values = np.array([48,49,50,51,52,53,54,55,56,57,65],'i1')
flag_meanings | S |  | depthqc.flag_meanings = 'no_quality_control good_value probably_good_value probably_bad_value bad_value changed_value value_below_detection value_in_excess interpolated_value missing_value value_phenomenon_uncertain'
DEPTH_QC = np.array([49, 49, 49, 49, 49, 49], 'i1')
depthqc[0,0:] = DEPTH_QC
Horizontal coordinate reference systems
Grid mapping
Name | Data type | Comment | Python
crs | N | Set to 0 (required for SeaDataNet conventions) | Crs = rootgrp.createVariable('crs','i4')
Grid mapping attributes
Name | Data type | Comment | Python
grid_mapping_name | S |  | Crs.grid_mapping_name = 'latitude_longitude'
epsg_code | S |  | Crs.epsg_code = 'EPSG:4326'
semi_major_axis | S |  | Crs.semi_major_axis = 6378137.
inverse_flattening | S |  | Crs.inverse_flattening = 298.257223563
CRS = 0
Crs[:] = CRS
Sampling feature coordinate reference system
Feature type
Name | Data type | Comment | Python
trajectory | S | This cannot be the same the as the deployment identifier. | Traj = rootgrp.createVariable('trajectory','S1',('INSTANCE','STRING80'))
Feature type attributes
Name | Data type | Comment | Python
long_name | S |  | Traj.long_name = 'Trajectory identifier'
cf_role | S |  | Traj.cf_role = "trajectory_id"
TRAJECTORYID = nc.stringtochar(np.array(['DY122_UWAY1'], 'S80'))
Traj[0,0] = TRAJECTORYID
Data variables
Example <SEATEMP>
Name | Data type | Comment | Python
SEATEMP | N |  | SEATEMP = rootgrp.createVariable('seatemp', 'f4', ('INSTANCE', 'MAXT'), fill_value=-9)
Example <SEATEMP> attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | SEATEMP.long_name = 'sea surface temperature'
units | S |  | SEATEMP.units = 'degC'
ancillary_variables | S |  | SEATEMP.ancillary_variables = 'seatemp_SEADATANET_QC'
sdn_parameter_name | S |  | SEATEMP.sdn_parameter_name = 'Temperature of the water body by thermosalinograph hull sensor and NO verification against independent measurements'
sdn_parameter_urn | S |  | SEATEMP.sdn_parameter_urn = 'SDN:P01::TEMPHU01'
sdn_uom_name | S |  | SEATEMP.sdn_uom_name = 'Degrees Celsius'
sdn_uom_urn | S |  | SEATEMP.sdn_uom_urn = 'SDN:P06::UPAA'
coordinates | S |  | SEATEMP.coordinates = 'TIME DEPTH LATITUDE LONGITUDE'
instrument | S | Include attribute if data variable is measured by instrument | SEATEMP.instrument = '/instruments/TOOL0022_2490'
calibration | S | Include attribute if data variable has calibration applied | SEATEMP.calibration = '/calibrations/CAL_2435'
SST = np.array([7.4809, 7.4390, -9, 7.4030, 7.3647, 7.3497],'f4')
SEATEMP[0,0:] = SST
Example <SEATEMP> QC
Name | Data type | Comment | Python
SEATEMP_SEADATANET_QC | N |  | SEATEMPQC = rootgrp.createVariable('seatemp_SEADATANET_QC','i1',('INSTANCE', 'MAXT'), fill_value = 57)
Example <SEATEMP> QC Attributes
Name | Data type | Comment | Python
_FIllValue | D | Created upon variable creation
long_name | S |  | SEATEMPQC.long_name = 'SeaDataNet quality flag'
Conventions | S |  | SEATEMPQC.Conventions = 'SeaDataNet measurand qualifier flags'
coordinates | S |  | SEATEMPQC.coordinates = 'TIME DEPTH LATITUDE LONGITUDE'
sdn_conventions_urn | S |  | SEATEMPQC.sdn_conventions_urn = 'SDN:L20::'
flag_values | D |  | SEATEMPQC.flag_values = np.array([48,49,50,51,52,53,54,55,56,57,65],'i1')
flag_meanings | S |  | SEATEMPQC.flag_meanings = 'no_quality_control good_value probably_good_value probably_bad_value bad_value changed_value value_below_detection value_in_excess interpolated_value missing_value value_phenomenon_uncertain'
SST_QC = np.array([49, 49, 57, 49, 49, 49], 'i1')
SEATEMPQC[0,0:] = SST_QC
Instruments Group (Root > Instruments)
Inst = rootgrp.createGroup('instruments')
Dimensions
Inst.createDimension('NCOLUMNS', 1)
A Instrument Instance Group (Root > Instruments > An Instrument Instance) [Example <TOOL0022_2490>]
Inst1 = Inst.createGroup('TOOL0022_2490')
Group Attributes
Name | Data type | Comment | Python
date_valid_from | Date |  | Inst1.date_valid_from = datetime(2020, 1, 31, 0, 0, 0, tzinfo=timezone.utc).isoformat().replace('+00:00', 'Z')
calibration | S | Include if calibration associated to instrument | Inst1.calibration = '/calibrations/CAL_2435'
Metadata Variables
instrument
Name | Data type | Comment | Python
instrument_id | S |  | Instrumentname = Inst1.createVariable('instrument_id', 'str', ('NCOLUMNS'))
instrument_name attributes
Name | Data type | Comment | Python
long_name | S |  | Instrumentname.long_name = 'Instrument name'
sdn_variable_name | S |  | Instrumentname.sdn_variable_name = 'Long name'
sdn_variable_urn | S |  | Instrumentname.sdn_variable_urn = 'SDN:W07::IDEN0002'
INSTRUMENTNAME = np.array(['SBE 37-IM MicroCAT s/n 2490'])
Instrumentname[:] = INSTRUMENTNAME
serial number
Name | Data type | Comment | Python
serial_number | S |  | Serialnumber = Inst1.createVariable('serial_number', 'str', ('NCOLUMNS'))
serial number attributes
Name | Data type | Comment | Python
long_name | S |  | Serialnumber.long_name = 'Instrument serial number'
sdn_variable_name | S |  | Serialnumber.sdn_variable_name = 'Serial Number'
sdn_variable_urn | S |  | Serialnumber.sdn_variable_urn = 'SDN:W07::IDEN0005'
SERIALNUMBER = np.array(['2490'])
Serialnumber[:] = SERIALNUMBER
Model id
Name | Data type | Comment | Python
model_id | S |  | Modelid = Inst1.createVariable('model_id', 'str', ('NCOLUMNS'))
Model id attributes
Name | Data type | Comment | Python
long_name | S |  | Modelid.long_name = 'Instrument model identifier'
sdn_variable_name | S |  | Modelid.sdn_variable_name = 'Model name'
sdn_variable_urn | S |  | Modelid.sdn_variable_urn = 'SDN:W07::IDEN0003'
MODELID = np.array(['http://vocab.nerc.ac.uk/collection/L22/current/TOOL0022/'])
Model[:] = MODELID
Calibrations Group (Root > calibrations)
Cals = rootgrp.createGroup('calibrations')
Dimensions
Cals.createDimension('NCOLUMNS', 1)
A Calibration Instance Group (Root > Calibrations > A calibration Instance) [Example <CAL_2435>]
Cal1 = Cals.createGroup('CAL_2435')
Group Attributes
Name | Data type | Comment | Python
date_valid_from | Date |  | Cal1.date_valid_from = datetime(2019, 1, 31, 0, 0, 0, tzinfo=timezone.utc).isoformat().replace('+00:00', 'Z')
date_valid_to | Date |  | Cal1.date_valid_to = datetime(2019, 1, 31, 0, 0, 0, tzinfo=timezone.utc).isoformat().replace('+00:00', 'Z')
instrument_first_use | Date |  | Cal1.instrument_first_use = datetime(2020, 1, 31, 0, 0, 0, tzinfo=timezone.utc).isoformat().replace('+00:00', 'Z')
Metadata Variables
output units
Name | Data type | Comment | Python
output_units | S |  | Outputunits = Cal1.createVariable('output_units','str',('NCOLUMNS'))
Output units attributes
Name | Data type | Comment | Python
long_name | S |  | Outputunits.long_name = 'Output units'
sdn_variable_name | S |  | Outputunits.sdn_variable_name = 'TBC'
sdn_variable_urn | S |  | Outputunits.sdn_variable_urn = 'TBC'
OUTPUT= np.array(['Milligrams per cubic metre'])
Outputunits[:] = OUTPUT
output units id
Name | Data type | Comment | Python
output_units_id | S |  | Outputunitsid = Cal1.createVariable('output_units_id','str',('NCOLUMNS'))
input units attributes
Name | Data type | Comment | Python
long_name | S |  | Outputunitsid.long_name = 'Output units identifier'
sdn_variable_name | S |  | Outputunitsid.sdn_variable_name = 'TBC'
sdn_variable_urn | S |  | Outputunitsid.sdn_variable_urn = 'TBC'
OUTPUTID = np.array(['http://vocab.nerc.ac.uk/collection/P06/current/UMMC/'])
Outputunitsid[:] = OUTPUTID
coefficients
Name | Data type | Comment | Python
calibration_coefficients | S | String containing JSON | Calibrationcoefficients = Cal1.createVariable('calibration_coefficients', 'str', ('NCOLUMNS'))
input units attributes
Name | Data type | Comment | Python
long_name | S |  | Calibrationcoefficients.long_name = 'Calibration coefficients'
sdn_variable_name | S |  | Calibrationcoefficients.sdn_variable_name = 'TBC'
sdn_variable_urn | S |  | Calibrationcoefficients.sdn_variable_urn = 'TBC'
CALCOEFFS = np.array(['{"SF":5.6,"CWO":0.01}'])
Calibrationcoefficients[:] = CALCOEFFS
The minimal specification excludes deployment, platform and installation groups. In addition, some attributes are ommitted. The "Data type" values are S for string, N for numeric, Date for a date string and D for the type of the data variable. 'TBC' means value to be confirmed.
TIME
LATITUDE
LONGITUDE
DEPTH
CRS
TRAJ ID
DATA VARIABLES
Coordinate variables
Coordinate reference systems
Instruments
Instrument instance
Calibrations
Calibration
instance